## Canine
Catalog number | Name | Alternative Names | Species | Assay Type | Sensitivity | standard | Detection range | Sample type | Assay length | Research Area | Test principle
ELK9893 | Canine CKMB (Creatine Kinase MB isoenzyme)ELISA Kit | CK2; CK-MB; Creatine Kinase,Muscle/Brain | Canine | Sandwich | 6.1 pg/mL | 1000 pg/mL | 15.63-1000 pg/mL | serum, plasma, tissue homogenates and other biological fluids | 3.5h | Enzyme & Kinase;Cardiovascular biology; | The test principle applied in this kit is Sandwich enzyme immunoassay. The microtiter plate provided in this kit has been pre-coated with an antibody specific to Creatine Kinase MB Isoenzyme(CKMB). Standards or samples are added to the appropriate microtiter plate wells then with a biotin-conjugated antibody specific to Creatine Kinase MB Isoenzyme(CKMB). Next, Avidin conjugated to Horseradish Peroxidase (HRP) is added to each microplate well and incubated. After TMB substrate solution is added, only those wells that contain Creatine Kinase MB Isoenzyme(CKMB), biotin-conjugated antibody and enzyme-conjugated Avidin will exhibit a change in color. The enzyme-substrate reaction is terminated by the addition of sulphuric acid solution and the color change is measured spectrophotometrically at a wavelength of 450nm ± 10nm. The concentration of Creatine Kinase MB Isoenzyme(CKMB) in the samples is then determined by comparing the OD of the samples to the standard curve.
ELK9371 | Canine D2D(D-Dimer) ELISA Kit | D 2 Dimer | Canine | Competitive Inhibition | 27.2 ng/mL | 5000 ng/mL | 78.13-5000 ng/mL | Plasma | 2h | Hematology;Cardiovascular biology; | This assay employs the competitive inhibition enzyme immunoassay technique. The microtiter plate provided in this kit has been pre-coated with D-Dimer(D2D) protein. Standards or samples are added to the appropriate microtiter plate wells then with a biotin-conjugated antibody specific to D-Dimer(D2D). Next,Avidin conjugated to Horseradish Peroxidase (HRP) is added to each microplate well and incubated. After TMB substrate solution is added. The enzyme-substrate reaction is terminated by the addition of sulphuric acid solution and the color change is measured spectrophotometrically at a wavelength of 450nm ± 10nm. The concentration of D-Dimer(D2D) in the samples is then determined by comparing the OD of the samples to the standard curve.