## Sheet1
Catalog number | Name | Alternative Names | Species | Assay Type | Sensitivity | standard | Detection range | Sample type | Assay length | Research Area | Test principle
ELK8528 | Rat,Mouse FSH(Follicle Stimulating Hormone) ELISA Kit | FSH-B; FSH-beta | Rat,Mouse | Competitive Inhibition | 0.91 ng/mL | 200 ng/mL | 3.13-200 ng/mL | serum, plasma and other biological fluids | 2h | Endocrinology;Reproductive science;Genetic science;Hormone metabolism; | This assay employs the competitive inhibition enzyme immunoassay technique. The microtiter plate provided in this kit has been pre-coated with Follicle Stimulating Hormone(FSH) protein. Standards or samples are added to the appropriate microtiter plate wells then with a biotin-conjugated antibody specific to Follicle Stimulating Hormone(FSH). Next,Avidin conjugated to Horseradish Peroxidase (HRP) is added to each microplate well and incubated. After TMB substrate solution is added. The enzyme-substrate reaction is terminated by the addition of sulphuric acid solution and the color change is measured spectrophotometrically at a wavelength of 450nm ± 10nm. The concentration of Follicle Stimulating Hormone(FSH) in the samples is then determined by comparing the OD of the samples to the standard curve.